## Sheet1
type | id | isZoneOf | name | contains | hasSpace | ifcId | area | volume
Zone | Aalborg-Office:West-Internal | Aalborg-Office | Zone West (Internal)
Zone | Aalborg-Office:West-North-Facing | Aalborg-Office | Zone West (North Facing)
Zone | Aalborg-Office:West-South-Facing | Aalborg-Office | Zone West (South Facing)
Zone | Aalborg-Office:West-West-Facing | Aalborg-Office | Zone West (West Facing)
Zone | California-Berkeley-Office:North-Wing | California-Berkeley-Office | North-Wing | ['California-Berkeley-Office:North-Wing:Sensor-HVAC-Load', 'California-Berkeley-Office:North-Wing:Sensor-Misc-Load', 'California-Berkeley-Office:North-Wing:Sensor-Total-Load', 'California-Berkeley-Office:South-Wing:Sensor-Lighting-Load'] | ['California-Berkeley-Office:Floor-2:Room-BL-016', 'California-Berkeley-Office:Floor-2:Room-BL-017', 'California-Berkeley-Office:Floor-2:Room-BL-018', 'California-Berkeley-Office:Floor-2:Room-BL-021', 'California-Berkeley-Office:Floor-2:Room-BL-022', 'California-Berkeley-Office:Floor-2:Room-BL-023', 'California-Berkeley-Office:Floor-2:Room-BL-024', 'California-Berkeley-Office:Floor-2:Room-BL-025', 'California-Berkeley-Office:Floor-2:Room-BL-026', 'California-Berkeley-Office:Floor-2:Room-BL-045', 'California-Berkeley-Office:Floor-3:Room-BL-046', 'California-Berkeley-Office:Floor-3:Room-BL-047', 'California-Berkeley-Office:Floor-3:Room-BL-048', 'California-Berkeley-Office:Floor-3:Room-BL-051', 'California-Berkeley-Office:Floor-3:Room-BL-052', 'California-Berkeley-Office:Floor-3:Room-BL-053', 'California-Berkeley-Office:Floor-3:Room-BL-054', 'California-Berkeley-Office:Floor-3:Room-BL-055', 'California-Berkeley-Office:Floor-3:Room-BL-056', 'California-Berkeley-Office:Floor-3:Room-BL-061']
Zone | California-Berkeley-Office:South-Wing | California-Berkeley-Office | South-Wing | ['California-Berkeley-Office:South-Wing:Sensor-HVAC-Load', 'California-Berkeley-Office:South-Wing:Sensor-Misc-Load', 'California-Berkeley-Office:South-Wing:Sensor-Total-Load'] | ['California-Berkeley-Office:Floor-2:Room-BL-019', 'California-Berkeley-Office:Floor-2:Room-BL-027', 'California-Berkeley-Office:Floor-2:Room-BL-028', 'California-Berkeley-Office:Floor-2:Room-BL-030', 'California-Berkeley-Office:Floor-2:Room-BL-032', 'California-Berkeley-Office:Floor-2:Room-BL-033', 'California-Berkeley-Office:Floor-2:Room-BL-035', 'California-Berkeley-Office:Floor-2:Room-BL-036', 'California-Berkeley-Office:Floor-2:Room-BL-037', 'California-Berkeley-Office:Floor-2:Room-BL-038', 'California-Berkeley-Office:Floor-2:Room-BL-039', 'California-Berkeley-Office:Floor-2:Room-BL-040', 'California-Berkeley-Office:Floor-2:Room-BL-041', 'California-Berkeley-Office:Floor-2:Room-BL-042', 'California-Berkeley-Office:Floor-2:Room-BL-043', 'California-Berkeley-Office:Floor-2:Room-BL-044', 'California-Berkeley-Office:Floor-3:Room-BL-049', 'California-Berkeley-Office:Floor-3:Room-BL-057', 'California-Berkeley-Office:Floor-3:Room-BL-058', 'California-Berkeley-Office:Floor-3:Room-BL-059', 'California-Berkeley-Office:Floor-3:Room-BL-062', 'California-Berkeley-Office:Floor-3:Room-BL-063', 'California-Berkeley-Office:Floor-3:Room-BL-064', 'California-Berkeley-Office:Floor-3:Room-BL-065', 'California-Berkeley-Office:Floor-3:Room-BL-066', 'California-Berkeley-Office:Floor-3:Room-BL-067', 'California-Berkeley-Office:Floor-3:Room-BL-068', 'California-Berkeley-Office:Floor-3:Room-BL-069', 'California-Berkeley-Office:Floor-3:Room-BL-070', 'California-Berkeley-Office:Floor-3:Room-BL-071', 'California-Berkeley-Office:Floor-3:Room-BL-072']
Zone | Lisbon-FCUL-Library:Atrium |  | Atrium
Zone | Lisbon-FCUL-Library:Floor-1:Atrium_Center |  | Atrium_Center | ['Lisbon-FCUL-Library:Floor-1:Atrium_Center:Actuator_Setpoint-Lighting', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Air-velocity-duct-north', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Air-velocity-duct-south', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_CO2_1', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_CO2_2', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_CO2_3', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_CO2_4', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Humidity_1', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Humidity_2', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Humidity_3', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Humidity_4', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Lighting_1', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Lighting_2', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Mass-Temperature_1', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Mass-Temperature_2', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Mass-Temperature_3', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Mass-Temperature_4', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Occupancy-Activity_1', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Occupancy-Activity_2', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_PM10', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_PM25', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Supply-Temperature-duct-north', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Supply-Temperature-duct-south', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Temperature_1', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Temperature_2', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Temperature_3', 'Lisbon-FCUL-Library:Floor-1:Atrium_Center:Sensor_Temperature_4', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Dead-zone-temperature-control', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Decimal-part-difference-outdoor-indoor-enthalpy', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Defrosting-start-up-setpoint', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Defrosting-stop-setpoint', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Differential-control-electrical-heaters-gas-burner', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Differential-Free-cooling-ramp-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Differential-maximum-supply-air-temperature-control-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Disable-compressors-free-cooling-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Disable-compressors-HEATING-mode-according-outdoor-temperature', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Disable-compressors-summer-freecooling-night', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Disable-outdoor-air-exchange-limit-setpoint', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Electrical-heaters-support-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Enable-auxiliary-hot-water-coil', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Enable-dehumidification-function', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Enable-discharge-sensor', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Enable-free-cooling-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Enable-free-cooling-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Enable-operation-heat-pump-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Enable-remote-ON/OFF', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Enabling-mixing-air-probe-CO2-probe', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Final-value-outdoor-fan-high-speed-condensation', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Flow-rate-setpoint-cooling-mode-plug-fan-indoor-fan', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Flow-rate-setpoint-cooling-mode-return-plug-fan', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Flow-rate-setpoint-heating-mode-return-plug-fan', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Flow-rate-setpoint-ventilation-mode-return-plug-fan', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Flow-setpoint-plug-fan-indoor-fan', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Forced-start-up', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_HEATING-mode-indoor-setpoint', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_HEATING-mode-outdoor-setpoint', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Humidity-Differential-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Humidity-setpoint-closing-outdoor-air-damper', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Humidity-Setpoint-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Initial-value-outdoor-fan-high-speed-condensation', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Integer-part-difference-outdoor-indoor-enthalpy', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Limit-indoor-setpoint-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Limit-indoor-setpoint-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Limit-setpoint-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Limit-setpoint-differential-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Limit-setpoint-differential-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Limit-setpoint-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Lower-limit-temperature-setpoint-HEAT', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Maximum-compensation-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Maximum-compensation-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Maximum-humidity-limit', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Maximum-opening-outdoor-air-damper', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Minimum-analogue-output-outdoor-fan', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Minimum-opening-outdoor-air-damper', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Minimum-supply-air-temperature-control-differential-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Mixed-air-temperature-setpoint-turning-OFF-outdoor-air-damper-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Number-compressors', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Offset-control-electrical-heaters-gas-burner', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Offset-Free-cooling-ramp-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Offset-Free-cooling-ramp-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Offset-support-electrical-heaters-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Offset-support-hot-water-coil-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Outdoor-fan-condensation-control-differential', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Outdoor-fan-condensation-control-setpoint', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Outdoor-temperature-compensation-differential-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Outdoor-temperature-compensation-differential-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Outdoor-temperature-compensation-setpoint-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Return-air-high-temperature-setpoint-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Return-air-high-temperature-setpoint-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Return-air-low-temperature-setpoint-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Return-air-low-temperature-setpoint-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Return-Air-Temperature-Setpoint-COOLING-Mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Return-Air-Temperature-Setpoint-HEATING-Mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Return-air-temperature-setpoint-turning-OFF-outdoor-air-damper-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Return-air-temperature-setpoint-turning-OFF-outdoor-air-damper-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Select-HEATING-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Setpoint-compensation-accordance-outdoor-temperature', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Setpoint-electrical-heaters-enabling', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Setpoint-hot-water-coil-ON', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Setpoint-Humidity-Lower', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Setpoint-Humidity-Upper', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Setpoint-maximum-supply-air-temperature-control-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Setpoint-minimum-supply-air-temperature-control-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Setpoint-minimum-supply-air-temperature-control-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Setpoint-Temperature-Cooling-Lower', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Setpoint-Temperature-Cooling-Upper', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Setvalue-Temperature-Deadband-Cooling', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Start-up-type', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Stop-compressors-HEATING-COOLING-operating-mode-change', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Supply-air-temperature-control-compressors', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Supply-air-temperature-setpoint-turning-OFF-outdoor-air-damper-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Supply-air-temperature-setpoint-turning-OFF-outdoor-air-damper-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Temperature-control-means-ambient-temperature-sensor', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Temperature-differential-free-cooling', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Type-free-cooling', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Unit-status-ON/OFF', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Upper-limit-temperature-setpoint-HEAT', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Water-temperature-offset-hot-water-coil-OFF-unit', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Water-temperature-setpoint-hot-water-coil', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Active-Power', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Ambient-air-temperature', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Apparent-Power', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_CO2', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Current_1', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Current_2', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Current_3', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_DecimalPart-Indoor-Enthalpy', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_DecimalPart-Outdoor-Enthalpy', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Flow-Rate-Indoor-Fan', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Flow-Rate-Return-Fan', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_HP-Pressure-Outdoor-Coil-Circuit1', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_HP-Pressure-Outdoor-Coil-Circuit2', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Indoor-fan-ONOFF', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_IntegerPart-Indoor-Enthalpy', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_IntegerPart-Outdoor-Enthalpy', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Mixing-Air-Temperature', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Outdoor-Air-Damper-Outlet', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Outdoor-Air-Relative-Humidity', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Outdoor-Air-Temperature', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Power-Factor', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Reactive-Power', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Return-Air-Relative-Humidity', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Return-Air-Temperature', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Return-Humidity', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Speed-Indoor-Fan', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Speed-Return-Fan', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Supply-Air-Temperature', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Supply-Air-Temperature-Setpoint-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Supply-Air-Temperature-Setpoint-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Supply-Temperature', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Switch-Compressor1-Circuit1', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Switch-Compressor1-Circuit2', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Switch-Enthalpic-FreeCooling', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Switch-HighSpeed-Outdoor-Fan-Circuit1', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Switch-HighSpeed-Outdoor-Fan-Circuit2', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Switch-Lowspeed-Outdoor-Fan-Circuit1', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Switch-Lowspeed-Outdoor-Fan-Circuit2', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Switch-ONOFF', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Switch-ONOFF-Time-Schedule', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Switch-Outlet-Humidifier', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Switch-SetpointChange-Time-Schedule', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Thermal-Compressor1-Circuit1', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Thermal-Compressor1-Circuit2', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Unit-Status', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Voltage_12', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Voltage_13', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Voltage_23', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Water-inlet-temperature-hot-water-coil', 'Lisbon-FCUL-Library:HVAC:RTU-North:Sensor_Water-outlet-temperature-hot-water-coil', 'Lisbon-FCUL-Library:HVAC:RTU-South', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Air-damper-position-start-up-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Ambient-temperature-compensation-calculate-supply-air-setpoint-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Ambient-temperature-compensation-calculate-supply-air-setpoint-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Auxiliary-hot-water-coil-differential', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Auxiliary-hot-water-coil-offset', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Band-water-temperature-setpoint-hot-water-coil', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Block-compressor-setpoint-COOLING-mode-1', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Block-compressor-setpoint-COOLING-mode-2', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Block-compressor-setpoint-HEATING-mode-1', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_CO2-air-quality-control-differential', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_CO2-air-quality-control-setpoint', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_CO2-limit-enabled', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Control-band-turning-OFF-outdoor-air-damper-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Control-band-turning-OFF-outdoor-air-damper-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_COOLING-HEATING-mode-selection', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_COOLING-mode-indoor-setpoint', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_COOLING-mode-outdoor-setpoint', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Dead-zone-humidity-control', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Dead-zone-temperature-control', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Decimal-part-difference-outdoor-indoor-enthalpy', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Defrosting-start-up-setpoint', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Defrosting-stop-setpoint', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Differential-control-electrical-heaters-gas-burner', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Differential-Free-cooling-ramp-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Differential-Free-cooling-ramp-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Differential-maximum-supply-air-temperature-control-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Disable-compressors-free-cooling-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Disable-compressors-HEATING-mode-according-outdoor-temperature', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Disable-compressors-summer-freecooling-night', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Disable-outdoor-air-exchange-limit-setpoint', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Electrical-heaters-support-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Enable-auxiliary-hot-water-coil', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Enable-dehumidification-function', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Enable-discharge-sensor', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Enable-free-cooling-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Enable-free-cooling-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Enable-operation-heat-pump-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Enable-remote-ON/OFF', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Enabling-mixing-air-probe-CO2-probe', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Final-value-outdoor-fan-high-speed-condensation', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Flow-rate-setpoint-cooling-mode-plug-fan-indoor-fan', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Flow-rate-setpoint-cooling-mode-return-plug-fan', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Flow-rate-setpoint-heating-mode-plug-fan-indoor-fan', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Flow-rate-setpoint-heating-mode-return-plug-fan', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Flow-rate-setpoint-ventilation-mode-return-plug-fan', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Flow-setpoint-plug-fan-indoor-fan', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Forced-start-up', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Integer-part-difference-outdoor-indoor-enthalpy', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Limit-indoor-setpoint-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Limit-setpoint-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Maximum-compensation-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Maximum-humidity-limit', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Maximum-opening-outdoor-air-damper', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Minimum-humidity-limit', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Minimum-opening-outdoor-air-damper', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Offset-support-hot-water-coil-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Outdoor-fan-condensation-control-differential', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Outdoor-temperature-compensation-differential-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Outdoor-temperature-compensation-setpoint-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Outdoor-temperature-compensation-setpoint-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Percentage-outdoor-air-renewal', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Return-air-low-temperature-setpoint-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Return-air-temperature-setpoint-turning-OFF-outdoor-air-damper-COOLING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Return-air-temperature-setpoint-turning-OFF-outdoor-air-damper-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Setpoint-minimum-supply-air-temperature-control-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Setvalue-Temperature-Deadband-Cooling', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Start-up-type', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Supply-air-temperature-control-electrical-heaters', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Unit-status-ON/OFF', 'Lisbon-FCUL-Library:HVAC:RTU-South:Actuator_Water-temperature-offset-hot-water-coil-OFF-unit', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_Active-Power', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_Apparent-Power', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_Current_2', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_Current_3', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_DecimalPart-Indoor-Enthalpy', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_DecimalPart-Outdoor-Enthalpy', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_HP-Pressure-Outdoor-Coil-Circuit2', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_Indoor-fan-ONOFF', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_Mixing-Air-Temperature', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_Outdoor-Air-Damper-Outlet', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_Outdoor-Air-Relative-Humidity', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_Outdoor-Air-Temperature', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_Return-Air-Temperature', 'Lisbon-FCUL-Library:HVAC:RTU-South:Sensor_Return-Humidity'] |  | 21OeXYcRz7GuSTcrwlskvY | 231.72 | 787.848
Zone | Lisbon-FCUL-Library:Floor-1:Atrium_N |  | Atrium_N | ['Lisbon-FCUL-Library:Floor-1:Atrium_N:Actuator_Close-Windows-Atrium-North-Group5', 'Lisbon-FCUL-Library:Floor-1:Atrium_N:Actuator_Open100-Windows-Atrium-North-Group5', 'Lisbon-FCUL-Library:Floor-1:Atrium_N:Actuator_Open25-Windows-Atrium-North-Group5', 'Lisbon-FCUL-Library:Floor-1:Atrium_N:Actuator_Open50-Windows-Atrium-North-Group5', 'Lisbon-FCUL-Library:Floor-1:Atrium_N:Actuator_Open75-Windows-Atrium-North-Group5', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Minimum-humidity-limit'] |  | 1wzTUCPMP7LPS1uI_1Goip | 138.59 | 471.206
Zone | Lisbon-FCUL-Library:Floor-1:Atrium_S |  | Atrium_S | ['Lisbon-FCUL-Library:Floor-1:Atrium_S:Actuator_Close-Windows-Atrium-South-Group3', 'Lisbon-FCUL-Library:Floor-1:Atrium_S:Actuator_Open100-Windows-Atrium-South-Group3', 'Lisbon-FCUL-Library:Floor-1:Atrium_S:Actuator_Open25-Windows-Atrium-South-Group3', 'Lisbon-FCUL-Library:Floor-1:Atrium_S:Actuator_Open50-Windows-Atrium-South-Group3', 'Lisbon-FCUL-Library:Floor-1:Atrium_S:Actuator_Open75-Windows-Atrium-South-Group3', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Ambient-temperature-compensation-calculate-supply-air-setpoint-HEATING-mode', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_COOLING-HEATING-mode-selection'] |  | 2NXs6H0Qr07QltlqawFJoq | 111.7 | 379.78
Zone | Lisbon-FCUL-Library:Floor-1:Atrium_W |  | Atrium_W | Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Control-band-turning-OFF-outdoor-air-damper-COOLING-mode |  | 2Iz1U6vVnEvO9XDPa8UTiK | 72.01 | 244.834
Zone | Lisbon-FCUL-Library:Floor-2:Atrium_Up |  | Atrium_Up | ['Lisbon-FCUL-Library:Floor-2:Atrium_Up:Actuator_Close-Windows-Atrium-Up-Group1', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Actuator_Close-Windows-Atrium-Up-Group2', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Actuator_Open100-Windows-Atrium-Up-Group1', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Actuator_Open100-Windows-Atrium-Up-Group2', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Actuator_Open25-Windows-Atrium-Up-Group1', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Actuator_Open25-Windows-Atrium-Up-Group2', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Actuator_Open50-Windows-Atrium-Up-Group1', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Actuator_Open50-Windows-Atrium-Up-Group2', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Actuator_Open75-Windows-Atrium-Up-Group1', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Actuator_Open75-Windows-Atrium-Up-Group2', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Sensor_CO2_1', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Sensor_CO2_2', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Sensor_Humidity_1', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Sensor_Humidity_2', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Sensor_Temperature_1', 'Lisbon-FCUL-Library:Floor-2:Atrium_Up:Sensor_Temperature_2', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_Block-compressor-setpoint-COOLING-mode-1', 'Lisbon-FCUL-Library:HVAC:RTU-North:Actuator_CO2-limit-enabled'] |  | 3bkrf_$FvEwAaXsIu$4V9l | 154.8 | 1857.6
Zone | Milan-MultiApartment-1:Stair-1:Floor-1:Apartment-18:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-1:Stair-1:Floor-1:Apartment-18:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-1:Stair-1:Floor-1:Apartment-22:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-1:Stair-2:Floor-0:Apartment-14:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-1:Stair-2:Floor-1:Apartment-4:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-1:Stair-2:Floor-1:Apartment-4:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-1:Stair-2:Floor-1:Apartment-7:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-1:Stair-2:Floor-2:Apartment-10:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-1:Stair-2:Floor-2:Apartment-10:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-1:Stair-2:Floor-2:Apartment-3:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-1:Stair-2:Floor-2:Apartment-3:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-1:Stair-2:Floor-3:Apartment-17:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-3:Floor-0:Apartment-34:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-3:Floor-0:Apartment-34:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-2:Stair-3:Floor-1:Apartment-58:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-3:Floor-2:Apartment-33:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-3:Floor-2:Apartment-33:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-2:Stair-3:Floor-2:Apartment-52:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-3:Floor-2:Apartment-52:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-2:Stair-3:Floor-2:Apartment-59:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-3:Floor-2:Apartment-60:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-3:Floor-3:Apartment-53:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-3:Floor-3:Apartment-53:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-2:Stair-3:Floor-3:Apartment-65:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-4:Floor-0:Apartment-45:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-4:Floor-0:Apartment-45:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-2:Stair-4:Floor-1:Apartment-44:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-1:Apartment-35:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-1:Apartment-35:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-1:Apartment-41:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-1:Apartment-41:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-1:Apartment-61:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-2:Apartment-28:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-2:Apartment-28:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-3:Apartment-26:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-3:Apartment-26:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-3:Apartment-29:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-3:Apartment-29:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-3:Apartment-40:Day-Zone |  | Day Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-3:Apartment-40:Night-Zone |  | Night Zone
Zone | Milan-MultiApartment-2:Stair-5:Floor-3:Apartment-51:Day-Zone |  | Day Zone
Zone | Seixal-City-Hall:First-Floor:South-Wing |  | South wing of the first floor of Seixal City Hall building